Spring & Summer

2003

Maintenance Reminders

Spring

- Wash Exterior of Home

- Repaint as necessary (Sheds, decks, steps, etc.)

- Clean Interior Walls

- Inspect Roof (Shingles, Clean off debris, Hose off with water, Check roof vents & skylights)

- Check Exhaust Fan Systems

- Check Anchoring System (Tie Downs)

- Inspect Condition of Skirting & Install Vented Panels

- Major Landscaping requires Pheasant Ridge approval (Trees, shrubs, large items)

Summer

- Check Air Conditioner

- Clean Air Filters

- Check Exterior Caulk and Sealants

- Check Condition of All Appliances and Connections

- Check Roof Jacks, and Appliance Exhausts

Weekly

- Test Smoke Detectors

Monthly

- Test Ground Fault Circuit Interrupters (GFCI)

- Test Fire Extinguishers – Replace when needed

Vacation Reminders

- Turn Off Water Supply

- Close & Lock Windows & Doors

- Empty the Refrigerator before long vacations

- Ask neighbors to watch over your home while you are away

- Pheasant Ridge Estates may be hired to complete any of the above inspections/repairs.

- Fire Extinguishers may be purchased from Pheasant Ridge for $35.00