Geothermal Energy Negative

• Regional availability limited primarily to the West, and uneven distribution of suitable geothermal sites.

• High initial capital and resource development costs.  The cost per kWh of geothermal power is competitive with coal and nuclear power, but not with natural gas combined cycle generation at today's low natural gas prices.

• Geothermal resources may be susceptible to pressure and/or temperature degradation if production from the reservoir is not carefully managed.  Experience at the Geysers in California, where there are stranded generating assets, demonstrates the criticality of reservoir management.

• Gases such as H2S may be emitted from geothermal wells unless they are collected and re-injected.

• Lack of utility experience with geothermal energy technologies inhibits adoption.

• Corrosivity/erosiveness of water/steam at some sites requires special materials and construction techniques.