Solar/Photovoltaic Power

• Residential customer demand may exceed the power produced by a typical home-sized photovoltaic system; necessitating storage or a supplemental power supply system.

• Solar insulation varies from region to region as does the value of other energy options.

• Costs per kWh produced by a PV system are currently higher then the average price for electricity from most utilities.

• Lack of utility experience with PV and lack of knowledge of solar resources within service territories limit adoption.

• Without energy storage, PV systems cannot provide continuous power.

• Some of the existing tax and other financial incentives to use photovoltaic generation are not available for utility property.

• There are insufficient high quality systems integrators.  Currently utility suppliers of energy services have to provide custom-designed systems every time they undertake a new installation.

• Manufacturing sector is undercapitalized for mass production.