Solar Thermal Energy Negative

• Technology readiness and the technology is considered mature for solar thermal trough designs but is only entering or approaching the demonstration stage for power tower molten salt storage and dish/engine systems.

• Regional nature of insulation suitable for solar thermal applications (some regions are not favored with good solar opportunities).

• Lack of utility experience with solar thermal technology.

• Reliability problems with high temperature requirements and corrosive effects on solar mirrors.

• Seasonal and diurnal variations.  Storage or back-up power source is needed to insure dispatchability.

• Costs per kWh produced by stand-alone solar thermal sources are currently higher than with conventional sources.

• Production tax credits and other buy-down mechanisms to reduce first costs are not available to all parties.

Waste Fuels Energy Neg.

• The public resists siting of MSW generators ("not-in-my-backyard" concerns).

• Proximity to a major, long-term source of MSW is necessary.

• Conventional technologies require high tipping fees.

• Liability issues regarding potential toxicity of air emissions and waste by-products.

• For RDF, higher cost of fuel compared to conventional fossil fuels, such as coal.

• State MSW regulations may limit generator capacity and impose restrictive siting criteria.